| **No.** | **MATERIAL CODE** | **DESCRIPTION** | **PART NUMBER** | **MANUFACTURER** | **QTY** | **UOM** | **COUNTRY OF ORIGIN** | **DELIVERY PERIOD (WEEKS)** | **UNIT PRICE (USD)** | **SUBTOTAL (USD)** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PACKAGE 1: GT CONTROL SYSTEM MARKVIe SPARES** |
| 1 | 43.20.02169 | UCP,CYLINDRICAL FUSE CLASS GG - 6A 10X38, 100PIECES/PACK | RQ-503833504 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 2 | 43.20.02170 | UCP,CYLINDRICAL FUSE CLASS GG - 25A 10X38, 100PIECES/PACK | RQ-503833510 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 3 | 43.20.02171 | UCP,CYLINDRICAL FUSE CLASS GG - 32A 10X38, 100PIECES/PACK | RQ-503833511 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 4 | 43.20.02172 | PDPA RIGHT PANEL, MINIATURE GENERAL PURPOSE RELAY, 4 POLE, 7 A - DC- 24 V - AGNI - LOCKABLE TEST BUTTON + MECHANICAL INDICATOR | RQ-15984 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 5 | 43.20.02173 | PDPA RIGHT PANEL, SCREW TERMINAL SOCKET PANEL, FOR 55.32/55.34 | RQ-17574 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 6 | 43.20.02174 | PDPA RIGHT PANEL, RELEASE LEVER FOR SOCKET 94.04 | RQ-17578 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 7 | 43.20.02175 | PDPA RIGHT PANEL,LED+VARISTOR FOR SOCKET 94.04 | RQ-17575 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 8 | 43.20.02176 | UCP,RCBO RESIDUAL CURRENT CIRCUIT BREAKER WITH OVERCURRENT PROTECTION DP100 A 1P+N 6 A 30 MA | 393A9477P0055 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 9 | 43.20.02177 | TCP,POWER DISTRIBUTION BOARD IS200JPDMG1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 10 | 43.20.02178 | TCP,ACOUSTIC MONITORING TERMINAL BOARD | IS210SAMBH1A | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 11 | 43.20.02179 | TCP,RTD INPUT TERMINAL BOARD (SIL) IS200SRTDH2A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 12 | 43.20.02180 | TCP,ANALOG INPUT TERMINAL BOARD IS200STAIH2A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 13 | 43.20.02181 | TCP,ANALOG INPUT/OUTPUT TERMINAL BOARD IS200TBAIH1C |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 14 | 43.20.02182 | TCP,CORE PROTECTION TERMINAL BOARD (SIL) | IS210TCSAS1A | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 15 | 43.20.02183 | TCP,DISCRETE INPUT/OUTPUT TERMINAL BOARD IS200TDBTH2A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 16 | 43.20.02184 | TCP,RELAY OUTPUT TERMINAL BOARD (SIL) IS200TRLYS1B |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 17 | 43.20.02185 | TCP,TURBINE TERMINAL BOARD IS200TTURH1C |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 18 | 43.20.02186 | TCP,DISCRETE OUTPUT OPTION BOARD IS200WROBH1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 19 | 43.20.02187 | TCP,ACOUSTIC MONITORING INPUT MODULE IS210BAPAH1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 20 | 43.20.02188 | TCP,POWER DISTRIBUTION BOARD IS210JPDDG1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 21 | 43.20.02189 | TCP,POWER DISTRIBUTION BOARD IS210JPDDG3A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 22 | 43.20.02190 | TCP,POWER DISTRIBUTION BOARD IS210JPDEG1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 23 | 43.20.02191 | TCP,I/O EXPANSION BOARD IS210SCSAS1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 24 | 43.20.02192 | TCP,ANALOG INPUT/OUTPUT MODULE IS220PAICH1B |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 25 | 43.20.02193 | TCP,DISCRETE INPUT/OUTPUT MODULE IS220PDIOH1B |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 26 | 43.20.02194 | TCP,POWER DISTRIBUTION SYSTEM FEEDBACK MODULE IS220PPDAH1B |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 27 | 43.20.02195 | TCP,RESISTANCE TEMPERATURE DEVICE INPUT MODULE IS220PRTDH1B |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 28 | 43.20.02196 | TCP,TURBINE SPECIFIC PRIMARY TRIP MODULE IS220PTURH1B |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 29 | 43.20.02197 | TCP,UCS CONTROLLER IS220UCSAH1AK |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 30 | 43.20.02198 | TCP,DISCRETE INPUT MODULE (SIL) | IS220YDIAS1A | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 31 | 43.20.02199 | TCP,DISCRETE OUTPUT MODULE (SIL) IS220YDOAS1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 32 | 43.20.02200 | TCP,CORE PROTECTION I/O PACK (SIL) IS220YSILS1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 33 | 43.20.02201 | TCP,CORE ANALOG MODULE IS230PCAAH1B |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 34 | 43.20.02202 | TCP,CORE ANALOG TERMINAL BOARD IS230TCATH1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 35 | 43.20.02203 | TCP,HIGH DENSITY POWER DISTRIBUTION BOARD IS410JPDHG1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 36 | 43.20.02204 | TCP,INDUSTRIAL ETHERNET SWITCH IS420ESWBH3A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 37 | 43.20.01996 | TCP,UCS CONTROLLER | IS420UCSBH4A | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 38 | 43.20.00216 | TCP,UCS CONTROLLER IS420UCSBS1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 39 | 43.20.02205 | MPA,SWITCH/PROXIMITY DETECTOR REPEATER, RELAY OUTPUT (SIL 3) | RQ-15508 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 40 | 43.20.02206 | UCP,EVALUATION UNIT RQ-15866 | RQ-15866 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 41 | 43.20.02207 | UCP,FIXING ADAPTER (FRONT FIXING) | 393A8909P0058 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 42 | 43.20.02208 | UCP,EMERGENCY-STOP ACTUATOR, NON-ILLUMINATED , TURN TO RELEASE | 393A8909P0043 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 43 | 43.20.02209 | MP2A PANEL,SURGE PROTECTION | RB-02467 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 44 | 43.20.02210 | MP2A PANEL,SURGE PROTECTION | RB-15790 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 45 | 43.20.02211 | MP1A PANEL,SURGE PROTECTION BARRIER | RQ-5035902 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 46 | 43.20.02212 | MP1A PANEL,SURGE PROTECTION BARRIER | RQ-5035908 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 47 | 43.20.02213 | MP1A PANEL,SURGE PROTECTION BARRIER | RQ-5035904 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 48 | 43.20.02214 | MP1A PANEL,SMART CURRENT DRIVER | RB-02315 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 49 | 43.20.02215 | MP1A PANEL,SMART TRANSMITTER POWER SUPPLY | RB-02314 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 50 | 43.20.02216 | MP1A PANEL,REDUNDANT POWER FEED MODULE | RQ-5035888 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 51 | 43.20.02217 | TCP,PNOZSIGMA SAFETY RELAY 3N/O 1N/C | RQ-15922 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 52 | 43.20.02218 | PDPB LEFT PANEL, DUAL REDUNDANCY MODULE, INPUT 12-48V, OUTPUT MAX. 20A | RQ-16856 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 53 | 43.20.02219 | TCP,END CLAMP, 10PCS/PACK | 378A8615P0001 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 54 | 43.20.02220 | UCP,END COVER, 10PCS/PACK | 179673 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 55 | 43.20.02221 | UCP,END COVER, 10PCS/PACK | 393A8910P0061 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 56 | 43.20.02222 | PDPA,MONITORING RELAY | 393A8910P0001 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 57 | 43.20.02223 | MP2B,PATCH PANEL | RQ-17025 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 58 | 43.20.02224 | UCP,TYPE 1/2 SURGE PROTECTION DEVICE | RQ-5037635 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 59 | 43.20.02225 | UCP,THERMOELECTRIC VOLTAGE TERMINAL BLOCK PAIR | 179677 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 60 | 43.20.02226 | UCP,COMPONENT CONNECTOR, 10PCS/PACK | RQ-150530014 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 61 | 43.20.02227 | UCP,ISOLATING PLUG, RQ-150530012, 10PCS/PACK |  | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 62 | 43.20.02228 | MP2A PANEL, RELAY MODULE | RQ-159810001 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 63 | 43.20.02229 | PDPA PANEL, RELAY MODULE | RQ-159811001 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 64 | 43.20.02230 | MP2B LEFT PANEL, COUPLING RELAY | RQ-15927 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 65 | 43.20.02231 | PDPA RIGHT PANEL, SAFETY RELAYS | RQ-15931 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 66 | 43.20.02232 | TCP,REDUNDANCY MODULE | 383A6928P0004 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 67 | 43.20.02233 | TCP,POWER SUPPLY UNIT | RQ-16104 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 68 | 43.20.02234 | UCP,POWER SUPPLY UNIT | RQ-16105 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 69 | 43.20.02235 | UCP,SERVICE SOCKET TYPE F | 172731 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 70 | 43.20.02236 | UCP,PLUG, RQ-150551010 |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 71 | 43.20.02237 | UCP,FEED-THROUGH TERMINAL BLOCK, UT 2.5, 10PCS/PACK | RQ-150460000 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 72 | 43.20.02238 | UCP,KNIFE DISCONNECT TERMINAL BLOCK,10PCS/PACK | RQ-150509000 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 73 | 43.20.02315 | TERMINAL,PLUGABLE FOR FR- 6 GAS TURBINE,P/N:,RQO150550000, 50PCS/PACK | RQ-150550000 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 74 | 43.20.02239 | UCP,FEED-THROUGH TERMINAL BLOCK, UT 4, 10PCS/PACK | RQ-150466000 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 75 | 43.20.02240 | UCP,FUSE MODULAR TERMINAL BLOCK, UT 4-HESILA 250 (5X20) | RQ-150520400 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 76 | 43.20.02241 | UCP,FUSE MODULAR TERMINAL BLOCK, UT 4-HESILED 24 (5X20) | RQ-150520100 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 77 | 43.20.02242 | UCP,FUSED TERMINAL, UT 4-L/HESILED 24 (5X20) | RQ-180480020 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 78 | 43.20.02243 | UCP,FEED-THROUGH TERMINAL BLOCK, 10PCS/PACK | RQ-180300010 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 79 | 43.20.02244 | UCP,FEED-THROUGH TERMINAL BLOCK, 10PCS/PACK | RQ-150470000 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 80 | 43.20.02245 | UCP,FUSE MODULAR TERMINAL BLOCK, UT 6-HESILA 250 (6,3X32) | RQ-150521300 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 81 | 43.20.02246 | UCP,FEED-THROUGH TERMINAL BLOCK, 10PCS/PACK | RQ-150471000 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 82 | 43.20.02247 | UCP,FEED-THROUGH TERMINAL BLOCK, 10PCS/PACK | RQ-150472000 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 83 | 43.20.02248 | UCP,GROUND MODULAR TERMINAL BLOCK | RQ-150504000 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 84 | 43.20.02249 | PDPB FRONT PANEL, TYPE 2 SURGE PROTECTION PLUG | RQ-5037589 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 85 | 43.20.02250 | PDPB FRONT PANEL, TYPE 2 SURGE PROTECTION BASE ELEMENT | RQ-5036161 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 86 | 43.20.02251 | UCP,ENERGY-BOX FOR 482,6 MM (19") MOUNTING | RQ-16036 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 87 | 43.20.00234 | HEATER,230/150W FOR FR- 6 GAS TURBINE,P/N:,RQO158600000 | RQ-158600000 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 88 | 43.20.02252 | UCP,ENCLOSURE INTERNAL THERMOSTAT | RQ-158640000 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 89 | 43.20.02253 | UCP,ROOF-MOUNTED FAN, 230 VOLT RAL 7035 RQ-158533000 |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 90 | 43.20.02254 | UCP,FILTER FAN 550/600 M3/H, 230 V, 50/60H RQ-158522000 |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 91 | 43.20.02255 | UCP,CONNECTION ACCESSORIES DOOR OPERATED SWITCH WITH TOGGLE | RQ-158680000 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 92 | 43.20.02256 | UCP,CONNECTION ACCESSORIES DOOR OPERATED SWITCH WITH CONNECTION CABLE | 172761 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 93 | 43.20.02257 | UCP,GENERAL PURPOSE EMI FILTER 60A | RQ-5036509 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 94 | 43.20.02258 | UCP,GENERAL PURPOSE EMI FILTER 30A | RQ-5036506 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 95 | 43.20.02259 | PDPB FRONT PANEL, SWITCH DISCONNECTOR 3-POLES 32A | 393A9143P0350 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 96 | 43.20.02260 | TCP3 RIGHT PANEL, ANALOGUE SIGNAL CONVERTER | RQ-5037163 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 97 | 43.20.02261 | UCP,FUSE 250V/0.5A, 100PIECES/PACK | 393A8959P0104 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 98 | 43.20.02262 | UCP,FUSE 250V/1.0A, 100PIECES/PACK | 393A8959P0106 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 99 | 43.20.02263 | UCP,FUSE 250V/2.0A, 100PIECES/PACK | 393A8959P0108 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 100 | 43.20.02264 | UCP,FUSE 250V/3.15A, 100PIECES/PACK | 393A8959P0110 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 101 | 43.20.02265 | UCP,FUSE 250V/5.0A, 100PIECES/PACK | 393A8959P0112 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 102 | 43.20.02266 | UCP,FUSE 500V/0.5A, 100PIECES/PACK | 393A8959P1660 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 103 | 43.20.02267 | UCP,FIBRE-OPTIC MOUNTING RAIL OUTLET | RQ-5037420 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 104 | 43.20.02268 | FFP,CYLINDRICAL FUSE CLASS GG - 10A 10X38, 100PIECES/PACK | RQ-503833506 | GE DRIVES & CONTROLS INC | 1 | PACK |   |  |  |  |
| 105 | 43.20.02269 | FFP,POWER DISTRIBUTION BOARD | IS200JPDDG1A | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 106 | 43.20.02270 | FFP,POWER DISTRIBUTION BOARD | IS400JPDDG4A | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 107 | 43.20.02271 | FFP,POWER DISTRIBUTION BOARD IS230JPDGH1B |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 108 | 43.20.02272 | FFP,ANALOG INPUT/OUTPUT TERMINAL BOARD (SIL) IS200TBAIS1C |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 109 | 43.20.02273 | FFP,CONTACT INPUT TERMINAL BOARD (SIL) IS200TBCIS2C |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 110 | 43.20.02274 | FFP,ANALOG INPUT/OUTPUT MODULE (SIL) IS220YAICS1A |  | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 111 | 43.20.02275 | FFP,HIGH DENSITY POWER DISTRIBUTION BOARD | IS400JPDHG1A | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 112 | 43.20.02276 | FFP,NO CONTACT RELAY OUT MODULE | RQ-15509 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 113 | 43.20.02277 | FFP,D5200 SERIES 22 MM POWER BUS CONNECTOR FOR DIN RAIL MOUNTING | RQ-503748001 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 114 | 43.20.02278 | FFP,PUSHBUTTON ACTUATOR, FLUSH, WHITE, SPRING-RETURN | 393A8909P0030 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 115 | 43.20.02279 | FFP,CONTACT ELEMENT, 1N/O, FRONT FIXING | 393A8909P0039 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 116 | 43.20.02280 | FFP2,INDICATOR LIGHT, FLUSH, AMBER | RQ-503826905 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 117 | 43.20.02281 | FFP2,INDICATOR LIGHT, FLUSH, GREEN | RQ-503826902 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 118 | 43.20.02282 | FFP2,INDICATOR LIGHT, FLUSH, RED | RQ-503826901 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 119 | 43.20.02283 | FFP,LED ELEMENT, WHITE, FRONT FIXING, 12-30V AC/DC | 393A8909P0041 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 120 | 43.20.02284 | FFP,GENERAL PURPOSE EMI FILTER 20A | 393A8832P0220 | GE DRIVES & CONTROLS INC | 1 | EA |   |  |  |  |
| 121 | 43.20.02306 | BOARD~ (HSLA CARD) ALONG WITH ERAX CARD | RMO0465538\_IS200HSLAH2A\_NA34 | GEPC | 2 | EA |   |  |  |  |
| 122 | 43.20.02307 | EXCITER ATTN MODULE~ ( FIELD GROUND DETECTOR) | RMO0465538\_IS200EXAMG1B\_NA33 | GEPC | 2 | EA |   |  |  |  |
| 123 | 43.20.02308 | EX2100E REG DUAL SEL~ ( M1 & M2 CHANGEOVER CARD ) | RMO0465538\_IS200EDSLHA1A\_NA29 | GEPC | 1 | EA |   |  |  |  |
| 124 | 43.20.02309 | EX REG AUX I/0~ (ERAX CARD) (PCM PART) | RMO0465538\_IS200ERAXH1A\_NA30 | GEPC | 1 | EA |   |  |  |  |
| 125 | 43.20.02310 | PWR SUP240W AC-125DC-28DC~ | RMO0465538\_342A3647P240W28\_NA27 | GEPC | 2 | EA |   |  |  |  |
| 126 | 43.20.02311 | POWER CONVERTER MODULE(PCM)~ | RMO0465538\_151X1235DB15SA02\_NA24 | GEPC | 2 | EA |   |  |  |  |
| 127 | 43.20.02312 | EX2100E SYSTEM I/0 DUAL~ (ESYS CARD) | RMO0465538\_IS200ESYSH2A\_NA32 | GEPC | 1 | EA |   |  |  |  |
| 128 | 43.20.02313 | EX2100 REG GND DETEC~ ( PART OF FGD BOARD) | RMO0465538\_IS200ERGTH1A\_NA31 | GEPC | 2 | EA |   |  |  |  |
| 129 | 43.20.02314 | DC CONTACTOR COIL-120VDC, DS303A1, A2, B1, B2 | RM00465538\_IDI06G3A | GEPC | 2 | EA |   |  |  |  |
| **PACKAGE 1 TOTAL, USD:** |  |
| **PACKAGE 2: GT INSTRUMENT SPARES** |
| 1 | 43.20.01229 | VALVE, SRV ACCESSORIES - SERVO VALVE, GEBH IRQ110580500 | IGT000000543 | BH NUOVO PIGNONE | 3 | EA |   |  |  |  |
| 2 | 43.20.01671 | EXHAUST THERMOCOUPLE FOR FR-6 GAS TURBINE,P/N: RTO326380220A | RTO326380220A | GE | 5 | EA |   |  |  |  |
| 3 | 43.20.02285 | SPARK PLUG | 109E9348G005 | BH NUOVO PIGNONE | 2 | EA |   |  |  |  |
| 4 | 43.20.02286 | SPARK PLUG RING,PACKING, 324A9179P001 |  | BH NUOVO PIGNONE | 8 | EA |   |  |  |  |
| 5 | 43.20.00682 | SPARK PLUG GASKET | KFZ018980004 | BH NUOVO PIGNONE | 8 | EA |   |  |  |  |
| 6 | 43.20.01788 | SPARK PLUG SCREW 5/8-11UNCX2 1/2 | GFV15063 | BH NUOVO PIGNONE | 8 | EA |   |  |  |  |
| 7 | 43.20.02287 | SPARK PLUG LEAD, 354A1513P114 |  | BH NUOVO PIGNONE | 8 | EA |   |  |  |  |
| 8 | 43.20.01921 | BEARING N.1 INSTRUMENTS, GLAND,PACKING-TUBE | 235A9598P009 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 9 | 43.20.01922 | BEARING N.1 INSTRUMENTS, CONNECTOR,TUBE-FEMALE | 156A1085P017 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 10 | 43.20.01923 | BEARING N.1 INSTRUMENTS, ADAPTER | 156A1097P025 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 11 | 43.20.02288 | BEARING N.1 INSTRUMENTS, BEARING METAL TEMPERATURE JOURNAL BRG#1 THERMOCOUPLE | 328A8630P001 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 12 | 43.20.01924 | BEARING N.1 INSTRUMENTS, EPOXY COMPOUND | 287A7052P001 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 13 | 43.20.00868 | BEARING N.1 INSTRUMENTS, CABLE | 154A3204P001 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 14 | 43.20.02289 | BEARING N.1 INSTRUMENTS, CONNECTION 3/4X3/4NPT | 156A1085P018;RCP23518 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 15 | 43.20.01929 | BEARING N.1 INSTRUMENTS, ELBOW,UNION-TUBE | 156A1078P020 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 16 | 43.20.01940 | BEARING N.1 INSTRUMENTS, BOLT,TWELVE POINT HEAD | N733P21020 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 17 | 43.20.01941 | BEARING N.1 INSTRUMENTS, SCREW -42 V04- 50PCS/SET | N70P02110 | BH NUOVO PIGNONE | 4 | SET |   |  |  |  |
| 18 | 43.20.01942 | BEARING N.1 INSTRUMENTS, SCREW 1/4-20UNCX3/4 | GFU06019 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 19 | 43.20.02290 | BEARING N.1 INSTRUMENTS, TAPPO TIPO SWAGELOK | 156A1091P007;RCP23661 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 20 | 43.20.00978 | BEARING N.1 INSTRUMENTS, SCREW 3/8-16UNCX1 1/4 | GFU09031 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 21 | 43.20.01950 | BEARING N.1 INSTRUMENTS, WASHER, PLAIN - TYPE B, 0PCS/SET | N402AP13 | BH NUOVO PIGNONE | 4 | SET |   |  |  |  |
| 22 | 43.20.01952 | BEARING N.1 INSTRUMENTS, PLUG | JLE000003021 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 23 | 43.20.02291 | BEARING N.1 INSTRUMENTS, PLUG | 286A6290P005;JLE03017 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 24 | 43.20.01954 | BEARING N.1 INSTRUMENTS, FERRULE FRONT | 156A1088P007 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 25 | 43.20.01955 | BEARING N.1 INSTRUMENTS, FERRULE BACK TUBE | 156A1089P007 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 26 | 43.20.01957 | BEARING N.1 INSTRUMENTS, THERMOCOUPLE FITTING | 172A8754P001 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 27 | 43.20.01960 | BEARING N.1 INSTRUMENTS, UNION,TUBE-REDUCING | 156A1095P011 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 28 | 43.20.02292 | BEARING N.1 INSTRUMENTS, BRG METAL TEMP. THRUST BRG #1 ACT. SIDE THERMOCOUPLE 328A8630P002 |  | BH NUOVO PIGNONE | 8 | EA |   |  |  |  |
| 29 | 43.20.01963 | BEARING N.1 INSTRUMENTS, TUBING,SHRINKABLE, 50METER / ROLL | 286A6364P004 | BH NUOVO PIGNONE | 50 | roll |   |  |  |  |
| 30 | 43.20.01964 | BEARING N.1 INSTRUMENTS, BRACKET | SMP20635 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 31 | 43.20.02293 | BEARING N.1 INSTRUMENTS, SCREW 1/4-20UNC 1/2, GQF06012 |  | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 32 | 43.20.01966 | BEARING N.1 INSTRUMENTS, UNION PIPE-BALL TO ANGLE | 314A5205P018 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 33 | 43.20.01967 | BEARING N.1 INSTRUMENTS, SCREW, 50PCS/SET | L28P12010B33 | BH NUOVO PIGNONE | 4 | SET |   |  |  |  |
| 34 | 43.20.01968 | BEARING N.1 INSTRUMENTS, WASHER, 10PCS/SET | L408P25 | BH NUOVO PIGNONE | 4 | SET |   |  |  |  |
| 35 | 43.20.00869 | BEARING N.2 INSTRUMENT, THERMOC EXTENSION CABLE | 154A3204P002 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 36 | 43.20.01972 | BEARING N.2 INSTRUMENT, SPLIT SOCKET | 91425954P001 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 37 | 43.20.01975 | BEARING N.2 INSTRUMENT, TUBE COLLAR | 328A7740P015 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 38 | 43.20.01976 | BEARING N.2 INSTRUMENT, REDUCER,PIPE-SCREWED | 286A6292P011 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 39 | 43.20.01978 | BEARING N.2 INSTRUMENT, TUBING STAINLESS STEEL DIA | 368A1611P218 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 40 | 43.20.01979 | BEARING N.2 INSTRUMENT, BOLT,HEX HEAD | N14P21020 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 41 | 43.20.02294 | BEARING N.2 INSTRUMENT, SAFETY PLATE | SMP20522;SMR50004 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 42 | 43.20.02295 | BEARING N.2 INSTRUMENT, SUPPORT | SMP90752 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 43 | 43.20.01983 | BEARING N.2 INSTRUMENT, PLUG,O-RING,STR THD-TUBE | 211A9197P008 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 44 | 43.20.02296 | BEARING N.2 INSTRUMENT, ADAPTOR | RRR16010;RCP24173 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 45 | 43.20.01988 | BEARING N.2 INSTRUMENT, CONNECTOR TC | 91433578P008 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 46 | 43.20.01989 | BEARING N.2 INSTRUMENT, SCREW 1/4-20UNCX3/4, 100PCS/SET | HEH06019 | BH NUOVO PIGNONE | 4 | SET |   |  |  |  |
| 47 | 43.20.01990 | BEARING N.2 INSTRUMENT, NUT,SELF-LOCKING, 100PCS/SET | N265BP21 | BH NUOVO PIGNONE | 4 | SET |   |  |  |  |
| 48 | 43.20.02297 | TURB. TEMP. WHEEL SPACE 1ST STG. AFTER THERMOCOUPLE TT-WS1A0-1 | 397A7666P050 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 49 | 43.20.02298 | TURB. TEMP. WHEEL SPACE 2ND STG. FORWARD THERMOCOUPLE TT-WS2F0-2 | 397A7666P053 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 50 | 43.20.02299 | TURB. TEMP. WHEEL SPACE 1ST STG. FORWARD THERMOCOUPLE TT-WS1FI-1 | 397A7666P056 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 51 | 43.20.02300 | TURB. TEMP. WHEEL SPACE 3RD STG. AFTER THERMOCOUPLE TT-WS3A0-1 | 397A7666P070 | BH NUOVO PIGNONE | 4 | EA |   |  |  |  |
| 52 | 43.20.01708 | COMBUSTION CHAMBER DYNAMIC SENSOR | 389A6592P001 | BH NUOVO PIGNONE | 5 | EA |   |  |  |  |
| 53 | 43.20.02301 | IGV ACTUATOR LVDT | RTO72508;RTO72619 | BH NUOVO PIGNONE | 1 | EA |   |  |  |  |
| 54 | 43.20.02302 | MOV, FLOWSERVE LIMITORQUE  COMPLETE SET OF ACTUATOR | MX10-OP-22-317119-AV-WG-02-D | FLOWSERVE | 3 | EA |   |  |  |  |
| 55 | 43.20.02303 | MOV, ELECTRIC ACTUATOR SERVICE KITS (CONSIDER ALL INTERNAL COMPONENTS) | MX10 | FLOWSERVE | 2 | EA |   |  |  |  |
| 56 | 43.20.02304 | MOV, SEAL KIT FOR MX-10 ACTUATOR ,DESCRIPTION# O RING & SEALS FOR MX-10 ACTUATOR |  | FLOWSERVE | 2 | EA |   |  |  |  |
| 57 | 43.20.02305 | MOV, GEARBOX, RATIO 48:1 | WG-02-D | FLOWSERVE | 4 | EA |   |  |  |  |
| **PACKAGE 2 TOTAL, USD:** |  |